## NPOC results
NPOC results: Sample 177 to 190
2020-12-14 |  | 100 uL injection volume
average
Sample Name | NPOC as C (mg/L)
Sarah_Kaizad-177 | 6.509
Sarah_Kaizad-178 | 6.6517
Sarah_Kaizad-179 | 7.1607
Sarah_Kaizad-180 | 25.1371
Sarah_Kaizad-181 | 9.4088
Sarah_Kaizad-182 | 6.3495
Sarah_Kaizad-183 | 9.1611
Sarah_Kaizad-184 | 13.8634
Sarah_Kaizad-185 | 8.7971
Sarah_Kaizad-186 | 12.5967
Sarah_Kaizad-187 | 7.8546
Sarah_Kaizad-188 | 3.4203
Sarah_Kaizad-189 | 14.5286
Sarah_Kaizad-190 | 2.3415

## raw NPOC data
NPOC results: Sample 177 to 190
2020-12-14 |  | 100 uL injection volume
[15 empty] | average | recalc | average |  |  | predict
Type | Anal. | Sample Name | Sample ID | Origin | Cal. Curve | Manual Dilution | Notes | Date / Time | Spl. No. | Inj. No. | Analysis(Inj.) | Area | Conc. | Result | Excluded | Result | NPOC as C (mg/L) | Area | NPOC as C (mg/L) | NPOC as C (mg/L)
Unknown | NPOC | DIW | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 14:44 | 1 | 2 | NPOC | 2.684 | 0.3304 | NPOC:0.3251mg/L | 0 | 0.016807 | 0.0121 | 25.04 | 2.5 | 2.7275
Unknown | NPOC | DIW | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 14:47 | 1 | 3 | NPOC | 2.619 | 0.3224 | NPOC:0.3251mg/L | 0 | 0.0096919 |  | 25.25 | 2.5 | 2.7485
Unknown | NPOC | DIW | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 14:49 | 1 | 4 | NPOC | 2.62 | 0.3225 | NPOC:0.3251mg/L | 0 | 0.0098014 |  | 24.55 | 2.5 | 2.6783
Unknown | NPOC | STD_0.35ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 15:02 | 1 | 2 | NPOC | 5.804 | 0.7144 | NPOC:0.7022mg/L | 0 | 0.35835 | 0.34752 | 26.29 | 2.5 | 2.8528
Unknown | NPOC | STD_0.35ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 15:04 | 1 | 3 | NPOC | 5.577 | 0.6865 | NPOC:0.7022mg/L | 0 | 0.3335 |  | 25.68 | 2.5 | 2.7916
Unknown | NPOC | STD_0.35ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 15:07 | 1 | 4 | NPOC | 5.734 | 0.7058 | NPOC:0.7022mg/L | 0 | 0.35069 |  | 25.45 | 2.5 | 2.7686
Unknown | NPOC | STD_0.5ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 15:16 | 1 | 1 | NPOC | 7.53 | 0.9269 | NPOC:0.9074mg/L | 0 | 0.5473 | 0.52997 | 49.05 | 5 | 5.1349
Unknown | NPOC | STD_0.5ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 15:19 | 1 | 2 | NPOC | 7.254 | 0.8929 | NPOC:0.9074mg/L | 0 | 0.51709 |  | 48.64 | 5 | 5.0938
Unknown | NPOC | STD_0.5ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 15:24 | 1 | 4 | NPOC | 7.331 | 0.9024 | NPOC:0.9074mg/L | 0 | 0.52551 |  | 48.43 | 5 | 5.0728
Unknown | NPOC | STD_1ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 15:34 | 1 | 1 | NPOC | 12.03 | 1.481 | NPOC:1.470mg/L | 0 | 1.0399 | 1.0301 | 49.21 | 5 | 5.151
Unknown | NPOC | STD_1ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 15:37 | 1 | 2 | NPOC | 11.75 | 1.446 | NPOC:1.470mg/L | 0 | 1.0093 |  | 49.61 | 5 | 5.1911
Unknown | NPOC | STD_1ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 15:40 | 1 | 3 | NPOC | 12.04 | 1.482 | NPOC:1.470mg/L | 0 | 1.041 |  | 49.22 | 5 | 5.152
Unknown | NPOC | STD_2.5ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 15:50 | 1 | 1 | NPOC | 25.04 | 3.082 | NPOC:3.071mg/L | 0 | 2.4641 | 2.4539 | 95.39 | 10 | 9.7814
Unknown | NPOC | STD_2.5ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 15:53 | 1 | 2 | NPOC | 25.25 | 3.108 | NPOC:3.071mg/L | 0 | 2.4871 |  | 94.77 | 10 | 9.7193
Unknown | NPOC | STD_2.5ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 15:56 | 1 | 3 | NPOC | 24.55 | 3.022 | NPOC:3.071mg/L | 0 | 2.4105 |  | 95.16 | 10 | 9.7584
Unknown | NPOC | STD_5ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 16:07 | 1 | 1 | NPOC | 49.05 | 6.038 | NPOC:5.995mg/L | 0 | 5.1349 | 5.1005 | 97.27 | 10 | 9.97
Unknown | NPOC | STD_5ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 16:10 | 1 | 2 | NPOC | 48.64 | 5.987 | NPOC:5.995mg/L | 0 | 5.0938 |  | 97.69 | 10 | 10.0121
Unknown | NPOC | STD_5ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 16:14 | 1 | 3 | NPOC | 48.43 | 5.961 | NPOC:5.995mg/L | 0 | 5.0728 |  | 96.43 | 10 | 9.8857
Unknown | NPOC | STD_10ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 16:24 | 1 | 1 | NPOC | 95.39 | 11.74 | NPOC:11.71mg/L | 0 | 9.7814 | 9.753 | 190.9 | 20 | 19.3582
Unknown | NPOC | STD_10ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 16:28 | 1 | 2 | NPOC | 94.77 | 11.67 | NPOC:11.71mg/L | 0 | 9.7193 |  | 189.8 | 20 | 19.2479
Unknown | NPOC | STD_10ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 16:31 | 1 | 3 | NPOC | 95.16 | 11.71 | NPOC:11.71mg/L | 0 | 9.7584 |  | 190.3 | 20 | 19.2981
Unknown | NPOC | STD_20ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 16:42 | 1 | 1 | NPOC | 190.9 | 23.5 | NPOC:23.43mg/L | 0 | 19.3582 | 19.3014 | 196.9 | 20 | 19.9599
Unknown | NPOC | STD_20ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 16:46 | 1 | 2 | NPOC | 189.8 | 23.36 | NPOC:23.43mg/L | 0 | 19.2479 |  | 196.7 | 20 | 19.9398
Unknown | NPOC | STD_20ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 16:50 | 1 | 3 | NPOC | 190.3 | 23.42 | NPOC:23.43mg/L | 0 | 19.2981 |  | 195.7 | 20 | 19.8395
Unknown | NPOC | STD_50ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 17:01 | 1 | 1 | NPOC | 490.4 | 60.36 | NPOC:60.59mg/L | 0 | 49.3891 | 49.5763 | 490.4 | 50 | 49.3891
Unknown | NPOC | STD_50ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 17:05 | 1 | 2 | NPOC | 495 | 60.93 | NPOC:60.59mg/L | 0 | 49.8503 |  | 495 | 50 | 49.8503
Unknown | NPOC | STD_50ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 17:08 | 1 | 3 | NPOC | 491.4 | 60.49 | NPOC:60.59mg/L | 0 | 49.4894 |  | 491.4 | 50 | 49.4894
Unknown | NPOC | DIW | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 17:38 | 1 | 2 | NPOC | 2.784 | 0.3427 | NPOC:0.3351mg/L | 0 | 0.027754 | 0.02104 | 503.6 | 50 | 50.7127
Unknown | NPOC | DIW | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 17:40 | 1 | 3 | NPOC | 2.768 | 0.3407 | NPOC:0.3351mg/L | 0 | 0.026003 |  | 502.3 | 50 | 50.5823
Unknown | NPOC | DIW | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 17:43 | 1 | 4 | NPOC | 2.616 | 0.322 | NPOC:0.3351mg/L | 0 | 0.0093635 |  | 505 | 50 | 50.853
Unknown | NPOC | Sarah_Kaizad-177 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 17:53 | 1 | 1 | NPOC | 63.6 | 7.829 | NPOC:7.725mg/L | 0 | 6.5939 | 6.509
Unknown | NPOC | Sarah_Kaizad-177 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 17:57 | 1 | 2 | NPOC | 62.27 | 7.665 | NPOC:7.725mg/L | 0 | 6.4605
Unknown | NPOC | Sarah_Kaizad-177 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 18:00 | 1 | 3 | NPOC | 62.39 | 7.68 | NPOC:7.725mg/L | 0 | 6.4725
Unknown | NPOC | Sarah_Kaizad-178 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 18:11 | 1 | 1 | NPOC | 65.23 | 8.029 | NPOC:7.900mg/L | 0 | 6.7573 | 6.6517 |  |  | predict
Unknown | NPOC | Sarah_Kaizad-178 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 18:14 | 1 | 2 | NPOC | 64 | 7.878 | NPOC:7.900mg/L | 0 | 6.634 |  | Area | NPOC as C (mg/L) | NPOC as C (mg/L)
Unknown | NPOC | Sarah_Kaizad-178 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 18:17 | 1 | 3 | NPOC | 63.3 | 7.792 | NPOC:7.900mg/L | 0 | 6.5638 |  | 5.804 | 0.35 | 0.35835
Unknown | NPOC | Sarah_Kaizad-179 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 18:31 | 1 | 2 | NPOC | 69.86 | 8.599 | NPOC:8.525mg/L | 0 | 7.2216 | 7.1607 | 5.577 | 0.35 | 0.3335
Unknown | NPOC | Sarah_Kaizad-179 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 18:35 | 1 | 3 | NPOC | 68.83 | 8.473 | NPOC:8.525mg/L | 0 | 7.1183 |  | 5.734 | 0.35 | 0.35069
Unknown | NPOC | Sarah_Kaizad-179 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 18:38 | 1 | 4 | NPOC | 69.07 | 8.502 | NPOC:8.525mg/L | 0 | 7.1423 |  | 7.53 | 0.5 | 0.5473
Unknown | NPOC | Sarah_Kaizad-180 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 18:49 | 1 | 1 | NPOC | 249.9 | 30.76 | NPOC:30.59mg/L | 0 | 25.2742 | 25.1371 | 7.254 | 0.5 | 0.51709
Unknown | NPOC | Sarah_Kaizad-180 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 18:53 | 1 | 2 | NPOC | 247.9 | 30.51 | NPOC:30.59mg/L | 0 | 25.0736 |  | 7.331 | 0.5 | 0.52551
Unknown | NPOC | Sarah_Kaizad-180 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 18:56 | 1 | 3 | NPOC | 247.8 | 30.5 | NPOC:30.59mg/L | 0 | 25.0636 |  | 12.03 | 1 | 1.0399
Unknown | NPOC | Sarah_Kaizad-181 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 19:06 | 1 | 1 | NPOC | 93.78 | 11.54 | NPOC:11.28mg/L | 0 | 9.62 | 9.4088 | 11.75 | 1 | 1.0093
Unknown | NPOC | Sarah_Kaizad-181 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 19:10 | 1 | 2 | NPOC | 90.6 | 11.15 | NPOC:11.28mg/L | 0 | 9.3012 |  | 12.04 | 1 | 1.041
Unknown | NPOC | Sarah_Kaizad-181 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 19:13 | 1 | 3 | NPOC | 90.64 | 11.16 | NPOC:11.28mg/L | 0 | 9.3052 |  | 5.629 | 0.35 | 0.3392
Unknown | NPOC | Sarah_Kaizad-182 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 19:27 | 1 | 2 | NPOC | 61.37 | 7.554 | NPOC:7.529mg/L | 0 | 6.3703 | 6.3495 | 5.787 | 0.35 | 0.35649
Unknown | NPOC | Sarah_Kaizad-182 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 19:30 | 1 | 3 | NPOC | 60.57 | 7.456 | NPOC:7.529mg/L | 0 | 6.29 |  | 5.907 | 0.35 | 0.36963
Unknown | NPOC | Sarah_Kaizad-182 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 19:33 | 1 | 4 | NPOC | 61.55 | 7.576 | NPOC:7.529mg/L | 0 | 6.3883 |  | 7.186 | 0.5 | 0.50964
Unknown | NPOC | Sarah_Kaizad-183 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 19:43 | 1 | 1 | NPOC | 90.16 | 11.1 | NPOC:10.98mg/L | 0 | 9.257 | 9.1611 | 7.086 | 0.5 | 0.49869
Unknown | NPOC | Sarah_Kaizad-183 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 19:47 | 1 | 2 | NPOC | 89.36 | 11 | NPOC:10.98mg/L | 0 | 9.1768 |  | 6.998 | 0.5 | 0.48906
Unknown | NPOC | Sarah_Kaizad-183 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 19:50 | 1 | 3 | NPOC | 88.09 | 10.84 | NPOC:10.98mg/L | 0 | 9.0495 |  | 11.15 | 1 | 0.94358
Unknown | NPOC | DIW | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 20:02 | 1 | 2 | NPOC | 3.599 | 0.443 | NPOC:0.4285mg/L | 0 | 0.11697 | 0.10409 | 11.03 | 1 | 0.93044
Unknown | NPOC | DIW | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 20:04 | 1 | 3 | NPOC | 3.636 | 0.4476 | NPOC:0.4285mg/L | 0 | 0.12102 |  | 11.08 | 1 | 0.93592
Unknown | NPOC | DIW | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 20:07 | 1 | 4 | NPOC | 3.209 | 0.395 | NPOC:0.4285mg/L | 0 | 0.074279 |  | 25.04 | 2.5 | 2.4641
Unknown | NPOC | STD_2.5ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 20:20 | 1 | 2 | NPOC | 25.6 | 3.151 | NPOC:3.104mg/L | 0 | 2.5254 | 2.4835 | 25.25 | 2.5 | 2.4871
Unknown | NPOC | STD_2.5ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 20:23 | 1 | 3 | NPOC | 24.87 | 3.061 | NPOC:3.104mg/L | 0 | 2.4455 |  | 24.55 | 2.5 | 2.4105
Unknown | NPOC | STD_2.5ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 20:25 | 1 | 4 | NPOC | 25.18 | 3.099 | NPOC:3.104mg/L | 0 | 2.4794 |  | 26.29 | 2.5 | 2.601
Unknown | NPOC | STD_5ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 20:36 | 1 | 1 | NPOC | 49.63 | 6.109 | NPOC:6.030mg/L | 0 | 5.1931 | 5.1289 | 25.68 | 2.5 | 2.5342
Unknown | NPOC | STD_5ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 20:39 | 1 | 2 | NPOC | 48.99 | 6.03 | NPOC:6.030mg/L | 0 | 5.1289 |  | 25.45 | 2.5 | 2.509
Unknown | NPOC | STD_5ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 20:42 | 1 | 3 | NPOC | 48.35 | 5.952 | NPOC:6.030mg/L | 0 | 5.0647
Unknown | NPOC | STD_10ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 20:53 | 1 | 1 | NPOC | 96.59 | 11.89 | NPOC:11.88mg/L | 0 | 9.9018 | 9.8974
Unknown | NPOC | STD_10ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 20:57 | 1 | 2 | NPOC | 96.8 | 11.92 | NPOC:11.88mg/L | 0 | 9.9228
Unknown | NPOC | STD_10ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 21:00 | 1 | 3 | NPOC | 96.25 | 11.85 | NPOC:11.88mg/L | 0 | 9.8677
Unknown | NPOC | STD_20ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 21:11 | 1 | 1 | NPOC | 193.4 | 23.81 | NPOC:23.76mg/L | 0 | 19.6089 | 19.5721
Unknown | NPOC | STD_20ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 21:14 | 1 | 2 | NPOC | 193.6 | 23.83 | NPOC:23.76mg/L | 0 | 19.629
Unknown | NPOC | STD_20ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 21:18 | 1 | 3 | NPOC | 192.1 | 23.65 | NPOC:23.76mg/L | 0 | 19.4786
Unknown | NPOC | DIW | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 21:30 | 1 | 2 | NPOC | 3.873 | 0.4767 | NPOC:0.4547mg/L | 0 | 0.14697 | 0.12734 |  |  | predict
Unknown | NPOC | DIW | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 21:33 | 1 | 3 | NPOC | 3.681 | 0.4531 | NPOC:0.4547mg/L | 0 | 0.12595 |  | Area | NPOC as C (mg/L) | NPOC as C (mg/L)
Unknown | NPOC | DIW | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 21:35 | 1 | 4 | NPOC | 3.527 | 0.4342 | NPOC:0.4547mg/L | 0 | 0.10909 |  | 95.39 | 10 | 10.0838
Unknown | NPOC | DIW | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 21:47 | 1 | 2 | NPOC | 2.148 | 0.2644 | NPOC:0.2620mg/L | 0 | -0.041868 | -0.044021 | 94.77 | 10 | 10.0223
Unknown | NPOC | DIW | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 21:50 | 1 | 3 | NPOC | 2.06 | 0.2536 | NPOC:0.2620mg/L | 0 | -0.051502 |  | 95.16 | 10 | 10.061
Unknown | NPOC | DIW | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 21:52 | 1 | 4 | NPOC | 2.177 | 0.268 | NPOC:0.2620mg/L | 0 | -0.038694 |  | 97.27 | 10 | 10.2704
Unknown | NPOC | Sarah_Kaizad-184 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 22:02 | 1 | 1 | NPOC | 135 | 16.62 | NPOC:16.75mg/L | 0 | 13.7531 | 13.8634 | 97.69 | 10 | 10.3121
Unknown | NPOC | Sarah_Kaizad-184 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 22:06 | 1 | 2 | NPOC | 136.5 | 16.8 | NPOC:16.75mg/L | 0 | 13.9035 |  | 96.43 | 10 | 10.187
Unknown | NPOC | Sarah_Kaizad-184 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 22:09 | 1 | 3 | NPOC | 136.8 | 16.84 | NPOC:16.75mg/L | 0 | 13.9336 |  | 190.9 | 20 | 19.5625
Unknown | NPOC | Sarah_Kaizad-185 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 22:19 | 1 | 1 | NPOC | 86.61 | 10.66 | NPOC:10.53mg/L | 0 | 8.9011 | 8.7971 | 189.8 | 20 | 19.4533
Unknown | NPOC | Sarah_Kaizad-185 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 22:22 | 1 | 2 | NPOC | 84.78 | 10.44 | NPOC:10.53mg/L | 0 | 8.7176 |  | 190.3 | 20 | 19.503
Unknown | NPOC | Sarah_Kaizad-185 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 22:25 | 1 | 3 | NPOC | 85.33 | 10.5 | NPOC:10.53mg/L | 0 | 8.7727 |  | 196.9 | 20 | 20.158
Unknown | NPOC | Sarah_Kaizad-186 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 22:36 | 1 | 1 | NPOC | 124.7 | 15.35 | NPOC:15.20mg/L | 0 | 12.7204 | 12.5967 | 196.7 | 20 | 20.1381
Unknown | NPOC | Sarah_Kaizad-186 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 22:39 | 1 | 2 | NPOC | 120.9 | 14.88 | NPOC:15.20mg/L | 0 | 12.3393 |  | 195.7 | 20 | 20.0389
Unknown | NPOC | Sarah_Kaizad-186 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 22:45 | 1 | 4 | NPOC | 124.8 | 15.36 | NPOC:15.20mg/L | 0 | 12.7304 |  | 490.4 | 50 | 49.2858
Unknown | NPOC | Sarah_Kaizad-187 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 22:55 | 1 | 1 | NPOC | 76.13 | 9.371 | NPOC:9.376mg/L | 0 | 7.8502 | 7.8546 | 495 | 50 | 49.7423
Unknown | NPOC | Sarah_Kaizad-187 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 22:58 | 1 | 2 | NPOC | 76.15 | 9.374 | NPOC:9.376mg/L | 0 | 7.8523 |  | 491.4 | 50 | 49.385
Unknown | NPOC | Sarah_Kaizad-187 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 23:02 | 1 | 3 | NPOC | 76.24 | 9.385 | NPOC:9.376mg/L | 0 | 7.8613 |  | 503.6 | 50 | 50.5958
Unknown | NPOC | Sarah_Kaizad-188 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 23:14 | 1 | 2 | NPOC | 32.25 | 3.97 | NPOC:3.933mg/L | 0 | 3.4504 | 3.4203 | 502.3 | 50 | 50.4668
Unknown | NPOC | Sarah_Kaizad-188 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 23:17 | 1 | 3 | NPOC | 31.41 | 3.866 | NPOC:3.933mg/L | 0 | 3.3662 |  | 505 | 50 | 50.7347
Unknown | NPOC | Sarah_Kaizad-188 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 23:20 | 1 | 4 | NPOC | 32.19 | 3.962 | NPOC:3.933mg/L | 0 | 3.4444
Unknown | NPOC | Sarah_Kaizad-189 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 23:31 | 1 | 1 | NPOC | 145.1 | 17.86 | NPOC:17.57mg/L | 0 | 14.7659 | 14.5286
Unknown | NPOC | Sarah_Kaizad-189 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 23:34 | 1 | 2 | NPOC | 138.1 | 17 | NPOC:17.57mg/L | 0 | 14.064
Unknown | NPOC | Sarah_Kaizad-189 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 23:40 | 1 | 4 | NPOC | 145 | 17.85 | NPOC:17.57mg/L | 0 | 14.7558
Unknown | NPOC | Sarah_Kaizad-190 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 23:53 | 1 | 2 | NPOC | 24.05 | 2.96 | NPOC:2.944mg/L | 0 | 2.3557 | 2.3415
Unknown | NPOC | Sarah_Kaizad-190 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 23:56 | 1 | 3 | NPOC | 23.9 | 2.942 | NPOC:2.944mg/L | 0 | 2.3393
Unknown | NPOC | Sarah_Kaizad-190 | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-14 23:58 | 1 | 4 | NPOC | 23.81 | 2.931 | NPOC:2.944mg/L | 0 | 2.3295
Unknown | NPOC | DIW | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 00:28 | 1 | 2 | NPOC | 2.997 | 0.3689 | NPOC:0.3832mg/L | 0 | 0.051072 | 0.06377
Unknown | NPOC | DIW | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 00:30 | 1 | 3 | NPOC | 3.274 | 0.403 | NPOC:0.3832mg/L | 0 | 0.081395
Unknown | NPOC | DIW | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 00:33 | 1 | 4 | NPOC | 3.068 | 0.3777 | NPOC:0.3832mg/L | 0 | 0.058844
Unknown | NPOC | STD_0.35ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 00:45 | 1 | 2 | NPOC | 5.629 | 0.6929 | NPOC:0.7108mg/L | 0 | 0.3392 | 0.35511
Unknown | NPOC | STD_0.35ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 00:47 | 1 | 3 | NPOC | 5.787 | 0.7123 | NPOC:0.7108mg/L | 0 | 0.35649
Unknown | NPOC | STD_0.35ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 00:50 | 1 | 4 | NPOC | 5.907 | 0.7271 | NPOC:0.7108mg/L | 0 | 0.36963
Unknown | NPOC | STD_0.5ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 01:00 | 1 | 1 | NPOC | 7.186 | 0.8845 | NPOC:0.8727mg/L | 0 | 0.50964 | 0.49913
Unknown | NPOC | STD_0.5ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 01:02 | 1 | 2 | NPOC | 7.086 | 0.8722 | NPOC:0.8727mg/L | 0 | 0.49869
Unknown | NPOC | STD_0.5ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 01:05 | 1 | 3 | NPOC | 6.998 | 0.8614 | NPOC:0.8727mg/L | 0 | 0.48906
Unknown | NPOC | STD_1ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 01:18 | 1 | 2 | NPOC | 11.15 | 1.372 | NPOC:1.365mg/L | 0 | 0.94358 | 0.93665
Unknown | NPOC | STD_1ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 01:20 | 1 | 3 | NPOC | 11.03 | 1.358 | NPOC:1.365mg/L | 0 | 0.93044
Unknown | NPOC | STD_1ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 01:23 | 1 | 4 | NPOC | 11.08 | 1.364 | NPOC:1.365mg/L | 0 | 0.93592
Unknown | NPOC | STD_2.5ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 01:33 | 1 | 1 | NPOC | 26.29 | 3.236 | NPOC:3.177mg/L | 0 | 2.601 | 2.548
Unknown | NPOC | STD_2.5ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 01:36 | 1 | 2 | NPOC | 25.68 | 3.161 | NPOC:3.177mg/L | 0 | 2.5342
Unknown | NPOC | STD_2.5ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 01:39 | 1 | 3 | NPOC | 25.45 | 3.133 | NPOC:3.177mg/L | 0 | 2.509
Unknown | NPOC | STD_5ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 01:50 | 1 | 1 | NPOC | 49.21 | 6.057 | NPOC:6.074mg/L | 0 | 5.151 | 5.1647
Unknown | NPOC | STD_5ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 01:53 | 1 | 2 | NPOC | 49.61 | 6.107 | NPOC:6.074mg/L | 0 | 5.1911
Unknown | NPOC | STD_5ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 01:56 | 1 | 3 | NPOC | 49.22 | 6.059 | NPOC:6.074mg/L | 0 | 5.152
Unknown | NPOC | STD_10ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 02:07 | 1 | 1 | NPOC | 97.27 | 11.97 | NPOC:11.96mg/L | 0 | 9.97 | 9.9559
Unknown | NPOC | STD_10ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 02:10 | 1 | 2 | NPOC | 97.69 | 12.02 | NPOC:11.96mg/L | 0 | 10.0121
Unknown | NPOC | STD_10ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 02:13 | 1 | 3 | NPOC | 96.43 | 11.87 | NPOC:11.96mg/L | 0 | 9.8857
Unknown | NPOC | STD_20ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 02:24 | 1 | 1 | NPOC | 196.9 | 24.24 | NPOC:24.18mg/L | 0 | 19.9599 | 19.9131
Unknown | NPOC | STD_20ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 02:27 | 1 | 2 | NPOC | 196.7 | 24.21 | NPOC:24.18mg/L | 0 | 19.9398
Unknown | NPOC | STD_20ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 02:31 | 1 | 3 | NPOC | 195.7 | 24.09 | NPOC:24.18mg/L | 0 | 19.8395
Unknown | NPOC | STD_50ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 02:42 | 1 | 1 | NPOC | 503.6 | 61.99 | NPOC:61.99mg/L | 0 | 50.7127 | 50.716
Unknown | NPOC | STD_50ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 02:45 | 1 | 2 | NPOC | 502.3 | 61.83 | NPOC:61.99mg/L | 0 | 50.5823
Unknown | NPOC | STD_50ppm | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 02:49 | 1 | 3 | NPOC | 505 | 62.16 | NPOC:61.99mg/L | 0 | 50.853
Unknown | NPOC | DIW | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 03:02 | 1 | 2 | NPOC | 5.934 | 0.7304 | NPOC:0.6691mg/L | 0 | 0.37258 | 0.31807
Unknown | NPOC | DIW | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 03:04 | 1 | 3 | NPOC | 5.31 | 0.6536 | NPOC:0.6691mg/L | 0 | 0.30428
Unknown | NPOC | DIW | Untitled | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.cal | C:\TOC-L\CalCurves\20170803 Morad CALIBRATION CURVE 0-10 ppm NPOC.2017_08_06_11_03_17.cal | 1 |  | 2020-12-15 03:07 | 1 | 4 | NPOC | 5.064 | 0.6233 | NPOC:0.6691mg/L | 0 | 0.27735